- Emergency Management Program

DATE:     SAMPLE

OPERATING UNIT:		Canteen									  OPERATING UNIT MANAGER:

| Mission Critical System | ##### Potential Problems | Contact for Assistance in Preparing for Potential Problems | Preparations to Make to Minimize Potential Problems | If there is an interruption in operations due to loss of the Critical System, then: Assess the situation for: Action required: |  |
| --- | --- | --- | --- | --- | --- |
| 1. Lighting (Emergency Lights Available) | Without electrical power the canteen will need to shut down. | Contact Chief Facilities Management for possibility of emergency power. No contact with Safety Office is required. | - No preparation during canteen non-business hours. Closed to the public. - In a power failure during business hours, staff should be informed of route of egress and will evacuate through free and clear egress route. | - Determine extent of outage – is it confined or throughout department. | - Evacuate staff from work area to an area with emergency power (lighting). - Staff could be assigned to work in conjunction with Dietetics, or will be made available for the labor poll and may be used to support other areas of the facility. - Confer with the Associate Director for further guidance. |
| 2. Electrical Power (Generator Power Available) | Without electrical power canteen will need to shut down. 80% of equipment runs w/electric power. Walk-in refrigerators have no emergency power from generators, but are on the switch. | Contact Chief Facilities Management for possibility of emergency power. No contact with Safety Office is required. | a) Decrease refrigerated supplies. b) Acquire non-perishable food supplies to utilize in lieu of perishables. | - Determine the extent of the outage and the projected length of the outage. | - Staff could be made available for the labor pool and may be used to support other areas of the facility. - Contact utilities for activation of switch when excess power is available (excess power is possible depending on the hospital’s workload and weather conditions leading to savings of A/C). - Confer with the Associate Director for further guidance. |
| 3. Steam Distribution | Without steam the canteen will not have capability for dishwashing. | Chief Facilities Management. | a) Assess quantity of paper products required. b) Assess distribution procedure for paper products. | - # of prospective customers - Waste handling capabilities with use of paper products. | a) Distribute paper products. b) Place increased waste containers to handle paper product waste. |
| 4. Heating, Ventilation & Air Conditioning (HVAC) | Without heating/cooling will need to shut down. | Chief, Facilities/ Engineering | a) Assess need for portable heating/cooling. | a) Assess need for heating and cooling units. | Deploy supplemental heating and cooling units. |
| 5. Room or Hood Exhaust | No exhaust out of cooking hoods. | Chief, Facilities/ Engineering | Assess need for portable exhaust fans | Safety to staff and visibility. | - Deploy supplemental exhaust, if available. - Stop cooking on griddles/grills. |
| 6. Water Delivery | Without domestic water, Canteen services would be interrupted. | Chief, Facility Management Service | a) Assess quantity of domestic water required. b) Acquire ample supply of domestic water. | a) Assess quantity of bottled water required. b) Assess need for distribution of water for cleaning utensils. | a) Deploy domestic water. b) Deploy alternate means for washing serving utensils. |
| 7. Water Conditioning Or Drinkability | Without domestic water, Canteen services would be interrupted. | Chief, Facility Management Service | a) Assess quantity of domestic water required. b) Acquire ample supply of domestic water. | a) Assess quantity of bottled water required. b) Assess need for distribution of water for cleaning utensils. | a) Deploy domestic water. b) Deploy alternate means for washing serving utensils. |
| 8. Waste Stream (Sanitary, Solid, Liquid, & Biohazard) | Build-up of waste. | Chief, Facility Management Service | Acquire ample supply of waste bins/bags. | Assess method for waste management | a) Implement alternate waste handling procedures. b) Place spare waste bins/bags. |
| 9. Critical Supplies | No impact |  |  |  |  |
| 10. Communi- cations (Telephone, Radio, Intercom, Nurse Call; etc.) | Loss of phones will impede the departments ability to communicate with medical center staff and external contacts | Chief, IRM | Assess those sections – Canteen, Burger King, Retail Store – that need to have communication. Obtain hand-held two-way radios or cell phones from EOC. | Assess for those areas requiring communications. | Communications mode will be merely to monitor against theft/ vandalism of the areas that are closed. |
| 11. VISTA & Other Computer Applications | No Impact. |  |  |  |  |
| 12. Alarms (Fire, Code Blue, Security, Medical Gases, Nurse Call, Refrigeration; etc.) | - With out active alarms the risk of theft /vandalism increases in all sections (canteen, Burger King, Retail store, offices). - Canteen service will have no fire and smoke alarms. | Chief, Police Presence is required to secure cash in the safety box. | - Canteen and retail store are under electric alarm – Need to be secured and monitor. - Walk-in refrigerators, office, safety box, and Food department are alarmed to graphic control. | - Conduct continuous reassessment of the area for theft / vandalism. | - Assign staff to monitor the area. |
| 13. Elevators & Other Vertical Transport | No impact. |  |  |  |  |
| 14. Transport Systems (Robotic, Pneumatic Tube, Tracked Vehicle; etc.) | No Impact. |  |  |  |  |
| 15. Central Medical Gases (Oxygen, Medical Air, Vacuum) | No impact. |  |  |  |  |
| 16.Security Pick-up of Money | An interruption in “Brinks” services will affect the canteen because escorting the money/cash to the bank becomes an issue. | Contact Chief of Police. | a) Obtain Police escort to bring cash to the bank or secure money in the safety box. b) Establish alternate to vendor contract. | Assess contacts for Brinks services. | a) Contact alternate vendor. b) Contact police to implement emergency procedures. |